## PIF
Mount Werner Water Plant Investment Fee Calculation Form - 2026
FORM NUMBER: | [6 empty] | Single Family Residence
DATE: | [6 empty] | Single Family Residence w/Caretaker Unit
NAME OF APPLICANT: | [6 empty] | Condominium
MAILING ADDRESS: | [6 empty] | Duplex
OWNER EMAIL ADDRESS: | [6 empty] | Triplex
PHONE: | [6 empty] | Townhouse
PROPERTY ADDRESS: | [6 empty] | Commercial - tenant finish
LOCATOR KEY: | [6 empty] | Other;
BUILDING PERMIT NO:
|  |  | FIXTURE |  |  |  | WASTE | WASTE
|  |  | UNIT |  |  |  | WATER | WATER
FIXTURES | QUANTITY |  | POINTS |  | WATER |  | COLLECTION | TREATMENT
SQUARE FOOTAGE (shell excluding garage) |  | x | 0.008 | = | 0 |  | 0 | 0
TOILETS & URINALS PRIVATE |  | x | 8.1 | = | 0 |  | 0 | 0
TOILETS & URINALS PUBLIC |  | x | 16.2 | = | 0 |  | 0 | 0
BIDET |  | x | 5 | = | 0 |  | 0 | 0
SINKS - PRIVATE (bath,utility,laundry) |  | x | 2.5 | = | 0 |  | 0 | 0
SINKS - PUBLIC |  | x | 5 | = | 0 |  | 0 | 0
SINKS - COMMERCIAL |  | x | 5 | = | 0 |  | 0 | 0
SINKS - COMMERCIAL (3-compartment) |  | x | 15 | = | 0 |  | 0 | 0
TUB AND/OR SHOWER - PRIVATE |  | x | 14.3 | = | 0 |  | 0 | 0
TUB AND/OR SHOWER - PUBLIC |  | x | 28.6 | = | 0 |  | 0 | 0
WASHING MACHINE - PRIVATE |  | x | 10 | = | 0 |  | 0 | 0
WASHING MACHINE - PUBLIC |  | x | 22 | = | 0 |  | 0 | 0
WASHING MACHINE - COMMERCIAL |  | x | 60 | = | 0 |  | 0 | 0
KITCHEN - PRIVATE(includes 1 sink) |  | x | 7.2 | = | 0 |  | 0 | 0
DISHWASHER - PRIVATE |  | x | 8.7 | = | 0 |  | 0 | 0
DISHWASHER - COMMERCIAL |  | x | 100 | = | 0 |  | 0 | 0
DISHWASHER - COMMERCIAL - EE |  | x | 60 | = | 0 |  | 0 | 0
WET BAR |  | x | 2.5 | = | 0 |  | 0 | 0
FLOOR DRAINS |  | x | 7.5 | = | XXXXXX |  | 0 | 0
PARKING GARAGE PER 20' X 9' SPACE |  | x | 7.5 | = | XXXXXX |  | 0 | 0
WATER SPIGOT |  | x | 3.6 | = | 0 |  | XXXXXX | XXXXXX
POT FILLER |  | x | 3.6 | = | 0 |  | XXXXXX | XXXXXX
YARD HYDRANT |  | x | 8.1 | = | 0 |  | XXXXXX | XXXXXX
BEVERAGE STATION: (drinking fountain, espresso machine, coffee urn, etc.) |  | x | 1.5 | = | 0 |  | 0 | 0
ICE MACHINE/WATER COOLERS |  | x | 1.5 | = | 0 |  | 0 | 0
FOUNTAINS |  | x | 2.5 | = | 0 |  | 0 | 0
WHIRLPOOLS/HOT TUBS |  | x | 5 | = | 0 |  | 0 | 0
SWIMMING POOL (gallons) |  | x | 0.0025 | = | 0 |  | 0 | 0
CARWASH BAYS |  | x | 150 | = | 0 |  | 0 | 0
WASTEWATER DUMP |  | x | 500 | = | XXXXXX |  | 0 | 0
DRIVE UP RESTAURANT (per number of bays) |  | x | 15 | = | 0 |  | 0 | 0
RESTAURANT (SF per service area) |  | x | 0.165 | = | 0 |  | 0 | 0
BAR (SF of Service area) |  | x | 0.12 | = | 0 |  | 0 | 0
EXTERIOR SEATING RESTAURANT (# of seats)(n/a for pandemic) |  | x | 2.5 | = | 0 |  | 0 | 0
EXTERIOR SEATING BAR (no. of seats)(n/a for pandemic) |  | x | 1.8 | = | 0 |  | 0 | 0
CAMPSITE |  | x | 30 | = | 0 |  | 0 | 0
CONVENTION CENTER (no.of seats) |  | x | 1 | = | 0 |  | 0 | 0
IRRIGATION (sq.ft. irrigated area, new construction 1000 sf min per unit) |  | x | 0.01 | = | 0 |  | XXXXXX | XXXXXX
|  |  |  | TOTAL POINTS | 0 |  | 0 | 0
[5 empty] | X |  | X | X
|  |  |  | Fee per point | 91.79 |  | 21 | 49.6
|  |  |  | Fees | 0 |  | 0 | 0
| TOTAL PLANT INVESTMENT FEE | [6 empty] | 0
TOTAL METER AND BACKFLOW DEVICE
WATER METER COSTS |  |  |  |  | BACKFLOW DEVICE for Construction Water
3/4" ULTRASONIC WATER METER |  | x | 456 |  |  | x | 545 | 0
1" ULTRASONIC WATER METER |  | x | 670 |  |  | x |  | 0
1 1/2" ULTRASONIC WATER METER |  | x | 1224 |  |  | x |  | 0
2" ULTRASONIC WATER METER |  | x | 1540 |  |  | x |  | 0
3" ULTRASONIC WATER METER |  | x | 2263 |  |  | x |  | 0
4" ULTRASONIC WATER METER |  | x | 2668 |  |  | x |  | 0
[7 empty] | TOTAL DUE | 0
Meter prices effective 01/01/2026 **Please make checks payable to Mt. Werner Water, if sending a check via Fedex or UPS use 3310 Clearwater Trail S.S., CO 80487**
**If sending a check via USPS use P.O. Box 770940 S.S., CO 80477**
For meters greater than 4" - contact the Mt. Werner Water Office for pricing at 970.879.2424
All pricing subject to change without notice.

## Application
Date |  |  |  | PIF #
Mount Werner Water
Application for Water and Sewer Service Form
3310 Clear Water Trail - P.O. Box 770940
Steamboat Springs, CO 80477
Ph. (970) 879-2424 ∙ Fax (970) 879-8169
Owner's Name |  |  |  | Phone
Mailing Address
Project Street Address
Subdivision:
Email
Type of Building of Use:
| Single Family Residence |  | Triplex
| Single Family Residence w/Caretaker Unit |  | Townhouse
| Condominium |  | Commercial - tenant finish
| Duplex |  | Other;
Building Permit No.
Number of Kitchen Units
Calculated Plant Investment Fees |  | 0 | Date Paid
Meter and Backflow Fees |  | 0
Total Fees |  | 0
Temporary Construction Service End and
Beginning of Service Charge Billing Date:
(1) Please call 24 hours in advance for tapping services.
(2) Customer must schedule service line inspections, to include air pressure and water testing, prior to backfill
APPLICANT AGREES TO ABIDE BY ALL RULES AND REGULATIONS OF THE DISTRICT
IN EFFECT AS OF THIS DATE AND AS AMENDED FROM TIME TO TIME
Signed by owner or
representative |  |  |  | Date
Application approved by |  |  |  | Date
BACKFLOW PREVENTION DEVICES: No construction water service connection will be installed by Mount Werner Water
unless the water supply is protected as requried by the Rules and Regulations of "The District". Construction water service to
any premise will be discontinued by Mount Werner Water if a backflow prevention device is not installed or if it is found that a
backflow pre-vention device has been removed, bypassed, or if an upprotected cross-connection exists on the premises.
Service will no tbe restored until such conditions or defects are corrected. The customer's system will be open for inspection
at all times to authorized representatives of Mount Werner Water to determine whether cross -connections or other structural
or sanitary hazards exist. If, from any inspection, it is determined that a condition may create a danger to the health and well
being of a water consumer, then, without further notice, Mount Werner Water will deny or immediately discontinue service to
the premises by providing for the physical break in the service line until the customer has corrected the condition in
conformance to Mount Werner Water requirements.